## Slide 1: Methods for Blood Cell Counting
Dr. N.O.Ogidi

## Slide 7: Total WBC Count

## Slide 8
Total WBC Count

## Slide 9: Total White cell Count using a WBC Pipette

## Slide 10: Procedure using a WBC Pipette

## Slide 11: Total WBC Count Using Tube Method

## Slide 13: Total WBC Calculations

## Slide 14: Sources of error for WBC counts

## Slide 15: Normal Values for Total counts

## Slide 17: Increased WBC count (Leucocytosis)

## Slide 18: Decreased WBC Count (Leucopaenia)

## Slide 19: RBC Count
The main purpose for performing a red cell count is to know if a patient
is suffering from erythrocytosis or polycythaemia ( i.e red cell count of ≥ 6.5 million/Mm3
Is suffering from erythropaenia (I.e decrease in red cell count to ≤ 3.5 million/Mm3

## Slide 20: RBC Count
Blood is diluted in a 1:200 dilution using Haymen’s fluid, formal citrate or normal saline. Hayem’s fluid and formal citrate fix the cells and is isotonic to the cell. So it does not cause any damage. Normal saline is rarely used because it is associated with crenation of red cells and rouleaux formation

## Slide 21: Hayem’s fluid

## Slide 22: Formal Citrate

## Slide 23: Microdilution Method for RBC Count
This involves the use of RBC Pipette for dilution

## Slide 25: Microdilution method RBC Count

## Slide 26: Macrodilution method for RBC Count

## Slide 27: Calculation for Total RBC Count

## Slide 28
Normal Ranges of RBC

## Slide 30: Platelet Count
The purpose of platelet count is to determine if a patient is suffering from thrombocytosis (Platelets more than 700,000/ Mm3)
Or Thrombocytopaenia (Platelets less than 50,000/ Mm3

## Slide 31: Microdilution method for platelet count
Pipette used for dilution

## Slide 32: Counting Platelets under the microscope

## Slide 33: Calculation for Platelet Count

## Slide 34: Clinical Application of Platelet Count
Thrombocytosis-
Thrombocytopaenia

## Slide 35: Challenges of Manual counting
Poor reproducibility of results
Cumbersome process

## Slide 36: Automated Counters
Principle
Automated systems are now based on flow-through (also called flow cytometry) optical technologies that identify cells on the basis of light scatter properties broadly equating to the cell’s physical characteristic differences.

## Slide 38: Automatic Counters